Drinking Water Lead Sample Results

[Insert name of your facility] is a public water system because we are responsible for providing you with water at this location and ensuring that the drinking water we provide to you meets state and federal standards. The following table provides information on the tap location, date, and water sample result.

| Location | Date | Result (ppb) |
| --- | --- | --- |
| Cafeteria Sink | 7/17/14 | 6 |
| 2400 Corridor Fountain 1 | 7/17/14 | 4 |
| 2400 Corridor Fountain 2 | 7/17/14 | 11 |
| Science Room Sink | 7/19/14 | 2 |
| Boys Bathroom | 7/19/14 | 1 |
| Girls Bathroom | 7/19/14 | 5 |

The 90th percentile value for our water system [is/is not] below the “lead action level” of 15 parts per billion (ppb).

What Does This Mean?

The action level is the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.  The U.S. Environmental Protection Agency (EPA) has set the action level for lead in drinking water at 15 ppb. This means utilities must ensure that tap water does not exceed 15 ppb in at least 90 percent of the taps sampled (90th percentile value). If water exceeds this limit, then the utility must take certain steps to correct the problem. Because lead may pose serious health risks, the EPA set a Maximum Contaminant Level Goal (MCLG) of zero for lead. The MCLG is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

What Are The Health Effects of Lead?

Lead can cause serious health problems if too much enters your body from drinking water or other sources. Exposure to lead is a significant health concern, especially for young children and infants whose growing bodies tend to absorb more lead than the average adult. It can cause damage to the brain and kidneys, and can interfere with the production of red blood cells that carry oxygen to all parts of your body. Scientists have linked the effects of lead on the brain with lowered IQ in children. Adults with kidney problems and high blood pressure can be affected by low levels of lead more than healthy adults. Lead is stored in the bones, and can be released later in life. During pregnancy, the child receives lead from the mother’s bones, which may affect brain development.

What Are The Sources of Lead?

The primary sources of lead exposure for most children are lead-based paint, lead-contaminated dust, and lead-contaminated residential soil. Lead is found in older plumbing materials, some toys, some playground equipment, some children’s metal jewelry, and some traditional pottery.

What Can I Do To Reduce Exposure to Lead in Drinking Water?

Although test results were below EPA’s action level, you may still want to take steps to reduce your exposure.

- Run your water to flush out lead. If water hasn’t been used for several hours, run water for 15-30 seconds to flush lead from interior plumbing or until it becomes cold or reaches a steady temperature before using it for drinking or cooking.

- Use cold water for cooking and preparing baby formula.

- Do not boil water to remove lead.

- Look for alternative sources or treatment of water (such as bottled water or water filters).

- Re-test your water for lead periodically.

Identify and replace plumbing fixtures containing lead.

For More Information

Call us at [insert your water system’s phone number]. For more information on reducing lead exposure around your home and the health effects of lead, visit EPA’s Web site at www.epa.gov/lead, call the National Lead Information Center at 800-424-LEAD, or contact your health care provider.